# MAUI COMMUNITY COLLEGE

COURSE OUTLINE

1.  	Alpha and Number: 	AEC 118

Course Title:  	Construction Materials

Credits:  	3

Date of Outline:             	November 1, 2003

2.	Course Description:           	Provides a broad survey of materials and products used in the building industry, their nature, characteristics, variety, and uses.  Includes concrete, masonry, wood, metals, conveying systems, electrical and mechanical systems, and other topics based on the CSI format. Emphasizes materials and construction in Hawaii. (Formerly DRAF 26.)

3.   	Contact Hours/Type:      	3 hours/Lecture

4.   	Prerequisites:               			None

Corequisites: 	None

Recommended Preparation: 	ICS 100 or BCIS 161, and placement at

ENG 100.

## APPROVED BY ______________________________________  DATE________________

- General Course Objectives

Identify and describe materials and products used in the building industry, their nature, characteristics, variety, and uses.

- Student Learning Outcomes:

For assessment purposes, these are linked to #7. Recommended Course Content.

On successful completion of this course, students will be able to:

Module 1

- describe the types and proportioning of concrete materials and;

- the important characteristics of concrete;

c.	describe the process and time elements involved in concrete curing;

d.	explain the advantages of pre-stressed concrete, and distinguish between pre-tensioned and post-tensioned concrete;

e.	distinguish between one-way and two-way raised concrete slabs, and explain the steps in constructing slab-on-grade;

f.	identify and describe at least two tests of concrete strength;

g.	describe the nature of compression, tension, and shear in concrete beams;

h.	describe the sequence involved the reaction of soil to loading;

i.	identify and describe at least four types of retaining walls;

j.	identity at least three methods of soil compaction and two methods of soil stabilization;

k.	identify and describe at least three types of building foundations;

l.	describe cut-and-fill excavation;

m.	define the word “masonry” and distinguish masonry from cast-in-place concrete work;

n.	identify and describe at least four masonry materials or unit masonry products;

o.	describe at least three methods of reinforcing concrete block walls;

p.	identify and describe at least four types of concrete block;

q.	discuss the terms “header,” “stretcher”, “soldier,” and “sailer” as they pertain to brick construction;

r.	identify at least two types of brick;

s.	distinguish between any two types of igneous, metamorphic, and sedimentary stone;

t.	describe the characteristics and typical roles of mortar and grout in masonry work;

u.	compare the meanings of wood grades and species, and give three examples of each;

v.	describe the annual growth cycle of trees;

w.	describe the distinguishing characteristics of softwoods and hardwoods;

x.	describe at least three defects in wood;

y.	give three examples of nominal lumber sizes and their corresponding actual dimensions;

z.	describe the process of pressure treating wood;

aa.	describe a glue-laminated beam, a stress grade plywood beam, a stressed skin panel, a plywood box beam, a solid wood beam, and a built-up lumber beam;

bb.	describe the construction of sheet plywood and describe its strength characteristics;

cc.	give an example of a reconstituted wood product;

dd.	identify at least three truss shapes by their proper names;

ee.	discuss at least two advantages and two disadvantages of prefabricated wood roof trusses;

ff.	describe the blast furnace iron production process;

gg.	give the meanings of the words “ferrous,” “ductile,” “temper,” “extrude,” “malleable,” “anneal,” “fatigue,” and “alloy”;

hh.	compare metal forming and metal machining, and give at least three examples of each;

ii.	explain the design logic of common wide flange steel beams;

jj.	compare the corrosion resistance of steel and copper;

kk.	identify at least two common purposes of alloying metals;

ll.	explain galvanic action;

mm. identify at least two types of construction drawings;

nn.	define the term “construction specifications”.

Module 2

a.	compare thermoplastics and thermosetting plastics;

b.	identify and explain at least three ways in which plastics are reinforced for added strength;

d.	identify and describe at least three plastic forming processes;

e.	explain two important advantages of prefabrication, and explain two disadvantages;

f.	state two types of modular prefabrication;

g.	explain the purpose of seismic instrumentation in buildings;

h.	identify and describe at least three types of fireplaces;

- define the terms “flue,” “combustion chamber,” “smoke chamber,” “smoke shelf,” “fireback’” and “damper as they pertain to;

j.	fireplace construction;

k.	explain the roles of updraft and downdraft in the operation of a fireplace;

l.	explain the operation of a heat circulating fireplace insert unit;

m.	identify and describe three types of non-electric signs;

n.	explain the processes of routing and sandblasting;

o.	compare sheet glass, plate glass, and float glass;

- compare soda lime, lead alkali, and any one other type of glass;

q.	identified by its composition;

r.	compare window walls and curtain walls;

s.	compare the operation of double-hung, jealousy, casement, hopper, awning, and sliding windows;

t.	compare a bow window and a bay window;

u.	describe the construction of a typical double-glazed insulating  window;

v.	define “rail,” “stile,” “muntin,” “mullion,” “sill,” “jamb,” “head,” and “sash” as they pertain to windows;

w.	compare the operation common, double-action, double, pocket, sliding, single-fold, accordion, bypassing, revolving, and sectional overhead doors;

x.	describe a 0xx0 and a 3068 door;

y.	describe the purpose of an entry airlock;

z.	arrange common base and wall cabinets, appliances, and a sink in a simple kitchen floor plan;

aa.	describe a lazy susan cabinet, a drawer base unit, a blind square corner base cabinet, a common corner wall cabinet, a sink base cabinet and a sink front cabinet;

bb.	identify the height and front-to-back depth of a common kitchen base cabinet and a common kitchen wall cabinet;

cc.	compare unit and built-in furniture;

dd.	describe a mural, fresco, mosaic and graffito as the pertain to artwork;

ee.	compare radiation, conduction, and convection as they pertain to heat transfer;

ff.	explain the operation of a solar heated building;

gg.	explain the meaning of r-value;

hh.	identify and describe at least three different types of insulation materials;

ii.	compare open cell and closed cell insulation materials;

jj.	identify and describe at least three places in building construction where flashing is commonly used;

kk.	describe valley flashing, two-part flashing, counter flashing, drip edge flashing, and cap flashing;

ll.	identify and describe at least four different roofing materials.

Module 3

a.	compare elevator, escalator, moving ramp, and moving walk building transportation systems;

b.	include any eight of the terms “car,” “counterweight,” “shaft,” “traction motor,” “sheave,” “ropes,” “bumper,” “pit,” “rod,” and “oil reservoir” in comparing traction and hydraulic elevator;

c.	compare dumbwaiters and freight elevators to passenger elevators;

d.	compare lifting boom, hammerhead and mobile construction cranes;

e.	identify two types of material handling systems;

f.	explain the composition and construction of gypsum board andhow it is joined to hide the joints between boards;

g.	identify and describe at least three lathing materials;

h.	explain the steps involve in applying either stucco or plaster;

i.	identify and describe at least two drywall accessories;

j.	identity at least three flooring materials;

k.	compare parquet, strip, and plank flooring;

l.	discuss the composition and application of terrazzo;

m.	explain the steps involved in setting ceramic floor tile;

n.	define “resilient” as it applies to flooring and identify at least two resilient flooring systems;

o.	explain how sound is generated and transmitted;

p.	include any four of the terms “cycle,” “frequency,” “threshold of hearing,” “threshold of pain,” “hertz,” and “decibels” in comparing sound pitch and intensity;

q.	define noise-reduction coefficient, sound-transmission class, and impact insulation class;

r.	identify one advantage and one disadvantage of background noise;

s.	identify and describe two acoustical materials or devices;

t.	define pigment as it pertains to paint, and give two reasons why it is an important component of paint;

u.	compare the meaning of any five of the following terms “latex,” “solvent,” “thinner,” “binder,” “suspension,” “chalking,” and “hiding power” as they pertain to paints;

v.	explain the purpose and special characteristics of each of the following: primer, sealer, stain, polyurethane, varnish, shellac, lacquer;

w.	compare gloss, matte (or satin), and flat finishes as they pertain to paint;

x. 	identify and describe four major components of a plumbing distribution system, and four major components of a plumbing drainage system;

y.	identify and describe any four pipe fittings;

z.	identify any three pipe materials and typical methods of joining fittings and pipe of each of these materials;

aa.	explain how a plumbing trap works;

bb.	compare common waste pipe and soil pipe;

cc.	explain how a septic tank, distribution box and drain field work;

dd.	include the terms “furnace,” “boiler,” “duct,” “blower,” “radiator,” “pipe,” “register,” and “pump” in a comparison of hot water and warm air heating systems;

ee.	compare central and space heating, and give at least one example of each;

ff.	include the terms “compressor,” “evaporator,” “coil,” “refrigerant,” and “condenser” in a description of how a room air conditioner works;

gg.	include the terms “breaker panel,” “service drop,” “outlet,” “breaker switch,” “masthead,” “meter,” and “circuit conductors” in a description of a simple electrical system;

hh.	discuss conductor color-coding;

ii.	compare the required panel space and wiring of a 240-volt breaker switch;

jj.	describe the operation of a lighting outlet controlled by three-way switches;

kk.	describe the purpose and devices involved in the grounding of a typical electrical system;

ll.	sketch the electrical wiring symbols for any six of the following: common duplex convenience outlet, common ceiling outlet, split-wired wall outlet, single-pole wall switch, weatherproof wall outlet, wall lamp outlet, 3-way switch, 240-volt heavy duty outlet, and 120-volt special purpose outlet;

mm.	draw the switch legs necessary to show the connection of a wall switch to two ceiling outlets, a switch to a split-wired wall outlet, two 2-way switches to a set of two ceiling

outlets, and a 3-way switch to another floor level.

7.	Recommended Course Content and Approximate Time Spent on Each

Topic. Linked to #6, Student Learning Outcomes

4-6 Weeks:	Module 1 (a-nn)

4-6 Weeks:	Module 2 (a-ll)

4-6 Weeks:	Module 3 (a-mm)

8.	Text and Materials, Reference Materials, Auxiliary Materials and Content

Appropriate text(s) and materials will be chosen at the time the course is to be offered from those then currently available in the field. Examples:

Text:

Construction: Principles, Materials, and Methods by Olin and Simmons (Wiley)

Construction Materials and Processes, 3rd Edition by Watson

Materials:

Text(s) may be supplemented with:

Proprietary Workbook Practice Sets

Articles and/or handouts prepared by the instructor

Magazine or newspaper articles

Other:

Appropriate films, videos and Internet sites

Television programs

Guest speakers

Other instructional aids

9. 	Recommended Course Requirements and Evaluation:

Specific course requirements are at the discretion of the instructor at the time the course is being offered.  Suggested requirements might include, but are not limited to:

10-50%	Quizzes, midterm, and final exams

10-50% 	Design projects and workbook sets

5-20%	Attendance and/or class participation

- Methods of Instruction:

Instructional methods vary considerably with instructors, and specific instructional methods will be at the discretion of the instructor teaching the course. Suggested techniques might include, but are not limited to:

  - lecture, problem solving and class exercises;

  - class discussions and guest lecturers;

  - audio, visual and internet presentations;

  - student class presentations;

  - group and individual projects;

  - other techniques (service learning, co-op, self-paced, etc).